**LOG BOOK**

**TRAINING FOR SCREENING(HIV/SIFILIS/HEPATITIS C - TICK EITHER ONE ONLY)**

|  |  |  |
| --- | --- | --- |
| CATEGORY | STAFF | K LINIK KESIHATAN |
| NAME |  | |
| DATE | BEGIN : | END : |

1. Sample Reception
   1. Ensure patient identity on sample tally with the request form
2. Running of sample
   1. Remove a test cassette from the foil pouch by tearing at

The notch adan place it on a level surface.

* 1. Slowly add 10ul ( the second tick mark line ) of whole blood

Or serum or plasma to the sample well (A) and then add

2 drops of dilution buffer to the buffer well (B).

* 1. As the test begins to work, you will see purple color move

Across the result window in the center of the test device.

* 1. Wait for 15 minutes and read the results**. Do not read result**

**After 30 minutes.**

1. Result handling
   1. Validate and record result

Comment :

Trainer : Trainee :

Date : Date :

Endorsed by :